## Query List
ASSAM CANCER CARE FOUNDATION (ACCF)
3rd floor, V.K. Trade Centre, G.S. Road, Opp. Down-town Hospital,
Guwahati – 781022, Assam Ph: +91-90852 02020
E: procurement@accf.in ¦W: www.assamcancercarefoundation.org
Date: 20.5.2021
RFP for Interior Fit Out Work at 09 locations in the State of Assam
Ref: Tender No: ACCF/Interior/2021-22/16 Dated: 12/04/2021
CORRIGENDUM No. 4
Amendment & clarifications along with extension of submission of dates are as follows:
Sr.No. | BOQ Ref. No | BOQ Description | Comments and Query | resolution / Amendment
L1 & L3 locations
1 | 7.06 | PHARMACY RACK | Please share specifications, size to quote. Vendor is asking for the same | Minimum width of 450mm and length of racks shall be as per standard market sizes and as per the Phamacy layout prepared by the Interior contarctor subject to approval by Cllent
L2 LOCATIONS - DIBRUGARH, BARPET, SILCHAR
2 | 2.01 | 10S Island Seat (Reception) -Fabricating and Supply of Floor Mounted 10S Island seat with BWR Ply and M/S framework as required with BWR Ply cover / Flexiply cover with PU Leather finish as per approved colour, all complete as per architect's drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices.
3 | 2.02 | Bamboo Seater- Type 1 (Reception) -Fabricating and Supply of Floor Mounted Bamboo Seat with Necessary Ply and MS Framework all complete as per detail drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices.
4 | 2.03 | Bamboo Seater- Type 2 (Reception / OPD Lounge) -Fabricating and Supply of Floor Mounted Bamboo Seat with Necessary Ply and MS Framework all complete as per detail drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices.
5 | 2.04 | Wall mounted Table (around Column) (Visitor) -Fabricating and Supply of Wall Mounted Ply Table in 1mm Laminate Finish and 2mm Edge Banding with Necessary Ply and MS Framework all complete as per detail drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices. Min. width of Wall fixed tables shall be 450mm.
6 | 2.05 | Cafeteria Wall Fixed Table (Visitor) -Fabricating and fixing of wall mounted High Table of depth 450mm all around the column / along specified length on wall etc with Ply supports in Laminate finish, including of all necessary hardware, 2mm edge banding all complete as per drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices. Min. width of Wall fixed tables shall be 450mm.
7 | 2.06 | Cafeteria Wall Fixed Table (Staff) -Fabricating and fixing of wall mounted High Table of depth 450mm all around the column / along specified length on wall etc with Ply supports in Laminate finish, including of all necessary hardware, 2mm edge banding all complete as per drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices. Min. width of Wall fixed tables shall be 450mm.
8 | 2.07 | Cafeteria Booth Seat (Staff) -Fabricating and supply of Booth seat 1000mm length - frames to be made of wooden batten and BWR ply. Seat and beck rest to be made in ply, foam and leatherette(colour as per architect's selection).100mm thick foam (should be HR&FR rated) having ILD 41. , all complete as per architect's drawing . | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices. Min. width of Wall fixed tables shall be 450mm.
9 | 2.08 | Column Seater ( 12S ) (OPD Lounge) -Fabricating and supply of column-mounted circular seat around columns - frames to be made of wooden batten and BWR Ply. Saet and Backrest to be made with Ply / Flexi-Ply, with Solid Acrylic finish, all complete as per drawing. | Please share size, vendor is asking for the same | Layouts and sizes shall be referred from the Basic Furniture Layout / Base Architectural layouts / Concept Presentation. Any size details that are not measurable from the Tender drawings shall be appropriately considered and drawing prepared by the Interior contractor as per Anthropometric standards and Best Interior / Furniture Design practices.
10 | T1 | Office Tble | Please share table, back and side storage size | M/s Featherlite - Model: Flite - FL-H3B (Main table with fixed drawers only). Laminate Finish - GREENLAM LAMINATES - 776 Java Teak or equivalent from Godrej / Durian / StyleSpa.
Date Extention
11 | Notice Inviting Tender: Calender of Events | Last date and time of bid submission (Online): 23rd May 2021 till 14:30 Hrs |  | -Last date and time of bid submission (Online): 24th May 2021 till 14:30 Hrs - Last date and time of submission of physical copy of bid documents: 24th May 2021. - Bid Opening Date (online): 24th May at 15:10 Hrs Note: In Guwahati, due to Covid, Office is allowed to open for limited time till 11 AM everyday as of now. Request prospective bidders to try to submit hard copies before 11 AM on the bid submission date. Further, due to covid sitaution, delay in submission of Physical Copies by 3-4 days is condoned.