## SCI-Guwahati, Dibrugarh
BoQ for SCI Guwahati and Dibrugarh-Pneumatic Tube System
S.No. | Component | Total Quantities(A) | Unit Price (B) | Applicable Taxes | Total cost Excluding GST (A*B)
1 | Control software with Supervision and with license dongle key | 2 |  |  | 0
2 | Side Channel Blowers | 4 |  |  | 0
3 | Standard / Pass Through Stations NW160 | 30 |  |  | 0
4 | Compact Stations NW160 | 22 |  |  | 0
5 | Horizontal Lab Receiving Station NW160 | 2 |  |  | 0
6 | Diverter Units NW160 | 14 |  |  | 0
7 | System Control Cable | 950 |  |  | 0
8 | Power booster pack | 8 |  |  | 0
9 | leak proof Carriers or Capsules NW160 | 256 |  |  | 0
10 | Optical Sensors Built-In | 21 |  |  | 0
11 | System Tube Network Bends Grey PVC NW160 | 160 |  |  | 0
12 | System Tube Network Straight Tube Grey PVC NW160 | 720 |  |  | 0
13 | System Tube Network Bends Transparent PVC NW160 | 20 |  |  | 0
14 | System Tube Network Straight Tube Transparent PVC NW160 | 24 |  |  | 0
15 | PVC Sleeves NW160 | 500 |  |  | 0
16 | Special PVC Glue 1ltr Cans | 11 |  |  | 0
17 | Special PVC Cleaner 1ltr Cans | 2 |  |  | 0
18 | 1D special filter housing with H13/H14 plus prefilter | 18 |  |  | 0
19 | 2D special filter housing with H13/H14 plus prefilter | 4 |  |  | 0
20 | UPS for PC | 2 |  |  | 0
21 | PC with Peripherals | 2 |  |  | 0
22 | Thread rod and nuts and bolts @ every 2 meters | 475 |  |  | 0
23 | Station Receiving Baskets | 52 |  |  | 0
24 | Station Carrier Racks | 52 |  |  | 0
25 | Receiving Basket Upholstery | 52 |  |  | 0
26 | Station Directory | 52 |  |  | 0
27 | Tube Clips | 325 |  |  | 0
28 | Tube Clamps | 80 |  |  | 0
29 | MCCB/RCB and Power cable from Isolater panel | For 2 Locations |  |  | 0
Total Cost Excluding GST |  |  |  |  | 0
CAMC and LAMC (To be quoted in INR without Taxes)
S no | Description | Year 3 | Year 4 | Year 5 | Year 6 | Year 7 | Year 8 | Year 9 | Year10 | Total
1 | CAMC( Without consumables | [8 empty] | 0
2 | CAMC( With consumables)* | [8 empty] | 0
3 | LAMC | [8 empty] | 0
| Total Comparative Price for price bid comparison | 0
Consumables : Like Velcro belts , carrier, Carrier Covers, Air Filters etc.
Additional Items (Price to be quoted in INR will be fix for 5 Years)
Sr. No. | Item Name | Unit Rate ( without Taxes)
1 | Velcro Belts
2 | Carrier
3 | Air Filters
4 | RFID
5 | Carrier covers