## Sheet1
BoQ for SCI Guwahati and Dibrugarh-Pneumatic Tube System
Note: | The cost of CMC and AMC shall be as follows and remain fixed : - AMC will be 1.25% and CMC would be 3%(without below mentioned consumable) of the Work Order/ Purchase Order Value (excluding GST). Thereafter, 3% increase every year over previous year value. Applicable GST shall be paid extra against valid GST Invoice. Actual Quantity executed will be considered for payment. Location of various station shall be given at the time of execution after detailed drawing workout with sucessful vendor.
S.No. | Component | Total Quantities (A) | Unit Price (B) | Applicable Taxes | Total cost Excluding GST ,(A*B)
1 | Control software with Supervision and with license dongle key | 2
2 | Side Channel Blowers | 4
3 | Standard / Pass Through Stations NW160 | 42
4 | Compact Stations NW160 | 10
5 | Horizontal Lab Receiving Stationsliced bend NW 160 | 4
6 | Diverter Units NW160 | 14
7 | System Control Cable | 1200
8 | Power booster pack | 8
9A | leak proof Carriers capsules | 60
9B | Standard Carrier capsules | 196
10 | Optical Sensors Built-In | 54
11 | System Tube Network Bends Grey PVC NW160 | 200
12 | System Tube Network Straight Tube Grey PVC NW160 | 800
13 | System Tube Network Bends Transparent PVC NW160 | 15
14 | System Tube Network Straight Tube Transparent PVC NW160 | 60
15 | PVC Sleeves NW160 | 600
16 | Special PVC Glue 1ltr Cans | 20
17 | Special PVC Cleaner 1ltr Cans | 2
18 | 1D special filter housing with H13/H14 plus prefilter | 18
19 | 2D special filter housing with H13/H14 plus prefilter | 4
20 | UPS for PC | 2
21 | PC with Peripherals | 2
22 | Thread rod and nuts and bolts @ every 2 meters | 480
23 | Station Receiving Baskets | 52
24 | Station Carrier Racks | 52
25 | Receiving Basket Upholstery | 52
26 | Station Directory | 52
27 | Tube Clips | 325
28 | Tube Clamps | 80
29 | MCCB/RCB and Power cable from Isolater panel | 2
30 | Charges for Third party inspection for SCI Guwahati | 1
31 | Charges for Third party inspection for Dibrugarh | 1
Total Cost Excluding GST
Consumables : Like Velcro belts , carrier, Carrier Covers, Air Filters etc.
Additional Items (Price to be quoted in INR will be fix for 5 Years)
Sr. No. | Item Name | Unit Rate ( without Taxes)
1 | Velcro Belts
2 | Standard Carrier
3 | Air Filters
4 | RFID
5 | Carrier covers